{"text_format":"3","workbook":"xlsx","n_sheets":11,"sheets":["D_2 单项工程最高投标限价汇总表","1_D_3 单位工程最高投标限价汇总表(含下浮)","1_E_1 分部分项工程量清单计价表-含合计","1_G_不可竞争项目清单与计价表-计算基数为数值","1_F_措施项目清单与计价表-计算基数为数值","1_I 税金计价表","2_D_3 单位工程最高投标限价汇总表(含下浮)","2_E_1 分部分项工程量清单计价表-含合计","2_G_不可竞争项目清单与计价表-计算基数为数值","2_F_措施项目清单与计价表-计算基数为数值","2_I 税金计价表"],"read":"whole","date_system":"1900"}

{"sheet":"D_2 单项工程最高投标限价汇总表","index":0,"n_rows":30,"n_cols":5,"rows_kept":30,"merged":[[0,0,0,4],[1,0,1,2],[1,3,1,4],[2,0,3,0],[2,1,3,1],[2,2,3,2],[2,3,2,4],[27,0,27,1],[29,0,29,4]]}
["单项工程最高投标限价汇总表"]
["工程名称:单项工程",null,null,"第1页 共1页"]
["序号","单位工程名称","金额(元)","其中:(元)"]
[{"$nulls":3},"暂估价 ","不可竞争费"]
["1","土建"]
["2","装饰",10643.23,null,119.03]
["3","安装",{"v":5835.6,"d":"5835.60"},null,104.51]
["4","市政"]
["5","园林"]
["6","仿古"]
{"$rows_empty":17}
["合计",null,16478.83,null,223.54]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-06"]

{"sheet":"1_D_3 单位工程最高投标限价汇总表(含下浮)","index":1,"n_rows":29,"n_cols":4,"rows_kept":29,"merged":[[0,0,0,3],[1,0,1,1],[28,0,28,3],[30,0,30,2]]}
["单位工程最高投标限价汇总表"]
["工程名称:装饰",null,"标段:","第1页 共1页"]
["序号","汇总内容","金 额(元)","其中:材料、设备暂估价(元)"]
["一","分部分项工程项目费",9589.85]
["1.1","其中:定额人工费",847.25,{"v":0,"d":"0.00"}]
["1.2","     定额机械费",34.51,{"v":0,"d":"0.00"}]
["1.3","     综合费",255.73,{"v":0,"d":"0.00"}]
["二","措施项目费",55.55,{"v":0,"d":"0.00"}]
["三","不可竞争费",119.03,{"v":0,"d":"0.00"}]
["3.1","安全文明施工费",119.03,{"v":0,"d":"0.00"}]
["3.2","工程排污费",null,{"v":0,"d":"0.00"}]
["四","其他项目费",null,{"v":0,"d":"0.00"}]
["4.1","暂列金额",null,{"v":0,"d":"0.00"}]
["4.2","专业工程暂估价",null,{"v":0,"d":"0.00"}]
["4.3","计日工",null,{"v":0,"d":"0.00"}]
["4.4","总承包服务费",null,{"v":0,"d":"0.00"}]
["五","计税不计费",null,{"v":0,"d":"0.00"}]
["六","税金",{"v":878.8,"d":"878.80"},{"v":0,"d":"0.00"}]
["七","不计税不计费",null,{"v":0,"d":"0.00"}]
["八","下浮率",null,{"v":0,"d":"0.00"}]
{"$rows_empty":7}
["九","工程造价",10643.23]
["注：本表适用于单位工程招标控制价或投标报价的汇总，如无单位工程划分，单项工程也使用本表汇总。\n安徽省建设工程造价计价软件测评合格编号2018JS-06"]

{"sheet":"1_E_1 分部分项工程量清单计价表-含合计","index":2,"n_rows":145,"n_cols":11,"rows_kept":145,"merged":[[0,0,0,10],[1,0,1,3],[1,4,1,5],[1,6,1,10],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,4,5],[2,6,2,10],[3,6,4,6],[3,7,4,7],[3,8,3,10],[11,0,11,10],[13,0,13,10],[14,0,14,3],[14,4,14,5],[14,6,14,10],[15,0,17,0],[15,1,17,1],[15,2,17,2],[15,3,17,3],[15,4,17,4],[15,5,17,5],[15,6,15,10],[16,6,17,6],[16,7,17,7],[16,8,16,10],[22,0,22,10],[24,0,24,10],[25,0,25,3],[25,4,25,5],[25,6,25,10],[26,0,28,0],[26,1,28,1],[26,2,28,2],[26,3,28,3],[26,4,28,4],[26,5,28,5],[26,6,26,10],[27,6,28,6],[27,7,28,7],[27,8,27,10],[34,0,34,10],[36,0,36,10],[37,0,37,3],[37,4,37,5],[37,6,37,10],[38,0,40,0],[38,1,40,1],[38,2,40,2],[38,3,40,3],[38,4,40,4],[38,5,40,5],[38,6,38,10],[39,6,40,6],[39,7,40,7],[39,8,39,10],[47,0,47,10],[49,0,49,10],[50,0,50,3],[50,4,50,5],[50,6,50,10],[51,0,53,0],[51,1,53,1],[51,2,53,2],[51,3,53,3],[51,4,53,4],[51,5,53,5],[51,6,51,10],[52,6,53,6],[52,7,53,7],[52,8,52,10],[62,0,62,10],[64,0,64,10],[65,0,65,3],[65,4,65,5],[65,6,65,10],[66,0,68,0],[66,1,68,1],[66,2,68,2],[66,3,68,3],[66,4,68,4],[66,5,68,5],[66,6,66,10],[67,6,68,6],[67,7,68,7],[67,8,67,10],[78,0,78,10],[80,0,80,10],[81,0,81,3],[81,4,81,5],[81,6,81,10],[82,0,84,0],[82,1,84,1],[82,2,84,2],[82,3,84,3],[82,4,84,4],[82,5,84,5],[82,6,82,10],[83,6,84,6],[83,7,84,7],[83,8,83,10],[88,0,88,10],[90,0,90,10],[91,0,91,3],[91,4,91,5],[91,6,91,10],[92,0,94,0],[92,1,94,1],[92,2,94,2],[92,3,94,3],[92,4,94,4],[92,5,94,5],[92,6,92,10],[93,6,94,6],[93,7,94,7],[93,8,93,10],[100,0,100,10],[102,0,102,10],[103,0,103,3],[103,4,103,5],[103,6,103,10],[104,0,106,0],[104,1,106,1],[104,2,106,2],[104,3,106,3],[104,4,106,4],[104,5,106,5],[104,6,104,10],[105,6,106,6],[105,7,106,7],[105,8,105,10],[115,0,115,10],[117,0,117,10],[118,0,118,3],[118,4,118,5],[118,6,118,10],[119,0,121,0],[119,1,121,1],[119,2,121,2],[119,3,121,3],[119,4,121,4],[119,5,121,5],[119,6,119,10],[120,6,121,6],[120,7,121,7],[120,8,120,10],[142,0,142,6],[144,0,144,10]]}
["分部分项工程量清单与计价表"]
["工程名称:装饰",{"$nulls":3},"标段:",null,"第1页 共10页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"定额\n人工费","定额\n机械费","暂估价"]
[null,null,"装饰工程",{"$nulls":4},9589.85,847.25,34.51]
["1","020203001001","墙面一般抹灰","1.原有装饰面层铲除\n2.墙体类型：内墙\n3.底层厚度、砂浆配合比：20mm/1:2水泥砂浆\n4.施工做好家具办公设备保护\n5.工程量暂定，以现场实际施工完成量签证结算","m2","1",34.14,34.14,18.59,2.76]
["2","020506001002","内墙铲除刷乳胶漆","1.基层清理，局部破损基层水泥砂浆抹平\n2.刮腻子要求：三遍\n3.油漆品种、刷漆遍数：乳胶漆三遍（立邦净味亮白新一代）\n4.施工做好家具办公设备保护\n5.工程量暂定，以现场实际施工完成量签证结算","m2","1",35.28,35.28,13.12,0.24]
["3","补001001","垃圾外运","\"1.垃圾人工装车(农用车)外运，运距自行考虑\n2.工程量暂定，以现场实际施工完成量签证结算\"","车","1",{"v":240,"d":"240.00"},{"v":240,"d":"240.00"}]
["4","020204003001","墙面贴瓷砖","1、墙体类型：砖墙\n2、底层厚度、砂浆配合比：20mm1:2水泥砂浆\n3、面层材料品种、规格、品牌、颜色：内墙面砖\n4、缝宽、嵌缝材料种类：嵌缝砂浆\n5、施工做好家具办公设备保护\n6、工程量暂定，以现场实际施工完成量签证结算","m2","1",133.13,133.13,41.68,1.36]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-06"]
[]
["分部分项工程量清单与计价表"]
["工程名称:装饰",{"$nulls":3},"标段:",null,"第2页 共10页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"定额\n人工费","定额\n机械费","暂估价"]
["5","010702001001","屋面卷材防水","1、卷材、涂膜品种:屋面卷材防水\n2、SBS改性沥青防水卷材\n3、热熔法(满铺),二层\n4、防水做法:执行施工及验收规范\n5.工程量暂定，以现场实际施工完成量签证结算","m2","1",63.16,63.16,6.86]
["6","010703002001","卫生间涂膜防水","1、卷材、涂膜品种:卫生间涂膜防水\n2、涂膜厚度:1.5mm\n3、防水部位:卫生间\n4、防水做法:执行施工及验收规范\n5.工程量暂定，以现场实际施工完成量签证结算","m2","1",{"v":26.9,"d":"26.90"},{"v":26.9,"d":"26.90"},{"v":2.1,"d":"2.10"}]
["7","020209001001","12CM轻质隔墙","1、骨架、边框材料种类、规格:轻钢龙骨（0.8厚U75@300），双层9.5厚防水石膏板；\n2、隔板材料:轻质隔墙（加隔音棉）\n3、嵌缝、塞口材料品种：依据施工规范\n4、压条材料种类：依据施工规范\n5、防护材料种类：依据施工规范\n6、工程量暂定，以现场实际施工完成量签证结算","m2","1",120.34,120.34,15.73,0.41]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-06"]
[]
["分部分项工程量清单与计价表"]
["工程名称:装饰",{"$nulls":3},"标段:",null,"第3页 共10页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"定额\n人工费","定额\n机械费","暂估价"]
["8","020507001001","刷喷涂料","1.基层清理，局部破损基层水泥砂浆抹平\n2.刮腻子要求：三遍\n3.油漆品种、刷漆遍数：乳胶漆三遍（立邦净味亮白新一代）\n4.施工做好家具办公设备保护\n5.工程量暂定，以现场实际施工完成量签证结算","m2","1",32.09,32.09,{"v":10.6,"d":"10.60"},0.24]
["9","010304001003","空心砖墙、砌块墙120厚","1、墙体类型：内墙\n2、墙体厚度：120mm\n3、墙体材料：蒸压加气混凝土砌块\n4、砌筑砂浆：预拌DM M5.0专用砂浆\n5.工程量暂定，以现场实际施工完成量签证结算","m3","1",493.44,493.44,{"v":142.8,"d":"142.80"},{"v":2.8,"d":"2.80"}]
["10","020401005001","成品木夹板门","1、门类型：成品木夹板门安装\n2、洞口尺寸：1200×2100\n3、依据施工及验收规范\n4、成品木门，含门套、五金、人工辅材等一切费用\n5、工程量暂定，以现场实际施工完成量签证结算","樘","1",{"v":1200,"d":"1200.00"},{"v":1200,"d":"1200.00"}]
["11","020406001001","彩钢窗","1、窗类型：彩钢推拉窗；\n2、框材质：彩钢；\n3、扇材质：中空玻璃（5+6A+5）；\n4、成品安装；\n5.依据施工及验收规范；\n6.工程量暂定，以现场实际施工完成量签证结算","m2","1",764.51,764.51,21.56,0.97]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-06"]
[]
["分部分项工程量清单与计价表"]
["工程名称:装饰",{"$nulls":3},"标段:",null,"第4页 共10页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"定额\n人工费","定额\n机械费","暂估价"]
["12","010701001001","瓦屋面","1.石棉瓦拆除；\n2.石棉瓦安装；\n3.垃圾外运，运距自行考虑；\n4.执行施工及验收相关规范；\n5.工程量暂定，以现场实际施工完成量签证结算","m2","1",34.29,34.29,7.14]
["13","010701001001","彩钢瓦","1.彩钢瓦安装\n3.依据施工及验收规范；\n4.垃圾外运自行考虑；\n5.工程量暂定，以现场实际施工完成量签证结算","m2","1",32.12,32.12,5.46]
["14","010605002001","泡沫夹心板","1.泡沫夹心板安装\n2.依据施工及验收规范；\n3.垃圾外运自行考虑；\n4.工程量暂定，以现场实际施工完成量签证结算","m2","1",{"v":45,"d":"45.00"},{"v":45,"d":"45.00"}]
["15","020209001001","卫生间铝合金隔断（普通隔断）","1.卫生间铝合金隔断（普通隔断）\n2.高：2m\n3.依据施工及验收规范；\n4.垃圾外运自行考虑；\n5.工程量暂定，以现场实际施工完成量签证结算","m2","1",145.17,145.17,{"v":25.9,"d":"25.90"},1.74]
["16","020109001001","广场零星大理石贴面","1.广场零星大理石贴面\n2.品质：中等\n2.依据施工及验收规范；\n3.垃圾外运自行考虑；\n4.工程量暂定，以现场实际施工完成量签证结算","m2","1",239.14,239.14,{"v":33.5,"d":"33.50"},{"v":0.6,"d":"0.60"}]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-06"]
[]
["分部分项工程量清单与计价表"]
["工程名称:装饰",{"$nulls":3},"标段:",null,"第5页 共10页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"定额\n人工费","定额\n机械费","暂估价"]
["17","020109001002","广场零星花岗岩贴面","1.广场零星花岗岩贴面\n2.品质：中等\n2.依据施工及验收规范；\n3.垃圾外运自行考虑；\n4.工程量暂定，以现场实际施工完成量签证结算","m2","1",239.14,239.14,{"v":33.5,"d":"33.50"},{"v":0.6,"d":"0.60"}]
["18","040203005001","水泥混凝土路面","1.砼路面C30修补\n2.依据施工及验收规范；\n3.垃圾外运自行考虑；\n4.工程量暂定，以现场实际施工完成量签证结算","m2","1",{"v":84,"d":"84.00"},{"v":84,"d":"84.00"}]
["19","010702001001","屋面防水层拆除","1.屋面防水层拆除\n2.垃圾外运自行考虑；\n3.工程量暂定，以现场实际施工完成量签证结算","m2","1",4.87,4.87,3.78]
["20","010702001001","屋面隔热板拆除","1.屋面隔热板拆除\n2.垃圾外运自行考虑；\n3.工程量暂定，以现场实际施工完成量签证结算","m2","1",19.35,19.35,{"v":15,"d":"15.00"}]
["21","补002","零星计时工（工日）","\"1.零星计时工（工日）\n2.工程量暂定，以现场实际施工完成量签证结算\"","个","1",{"v":100,"d":"100.00"},{"v":100,"d":"100.00"}]
["22","020406008001","金属防盗窗、遮阳棚安装","1、不锈钢防盗窗/遮阳棚安装（含主材）；\n2、工程量暂定，以现场实际施工完成量签证结算.","m2","1",143.51,143.51,16.58,0.46]
["23","补003001","小挖机","1.小挖机计时台班费\n2.工程量暂定，以现场实际施工完成量签证结算\"","台时","1",{"v":150,"d":"150.00"},{"v":150,"d":"150.00"}]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-06"]
[]
["分部分项工程量清单与计价表"]
["工程名称:装饰",{"$nulls":3},"标段:",null,"第6页 共10页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"定额\n人工费","定额\n机械费","暂估价"]
["24","补004","大挖机","1.大挖机计时台班费\n2.工程量暂定，以现场实际施工完成量签证结算","台时","1",{"v":280,"d":"280.00"},{"v":280,"d":"280.00"}]
["25","补005","小型铲车","1.小型铲车-台班费\n2.工程量暂定，以现场实际施工完成量签证结算","台时","1",{"v":500,"d":"500.00"},{"v":500,"d":"500.00"}]
["26","补006","吊车台班（8T以内）","1.吊车台班（8T以内）-台班费\n2.工程量暂定，以现场实际施工完成量签证结算","台时","1",{"v":500,"d":"500.00"},{"v":500,"d":"500.00"}]
["27","补007","吊车台班（12T以内）","1.吊车台班（12T以内）-台班费\n2.工程量暂定，以现场实际施工完成量签证结算","台时","1",{"v":700,"d":"700.00"},{"v":700,"d":"700.00"}]
["28","补008","吊车台班（16T以内）","1.吊车台班（16T以内）-台班费\n2.工程量暂定，以现场实际施工完成量签证结算","台时","1",{"v":900,"d":"900.00"},{"v":900,"d":"900.00"}]
["29","补009","拼装式脚手架费用(一付)","1.活动式脚手架租赁费（1付）\n2、含运输费\n3.工程量暂定，以现场实际施工完成量签证结算","台时","1",{"v":20,"d":"20.00"},{"v":20,"d":"20.00"}]
["30","010401003001","毛石垫层","1.毛石垫层\n2.工程量暂定，以现场实际施工完成量签证结算","m3","1",202.17,202.17,37.66,0.21]
["31","010302004001","填充墙","1.标准砖填充墙\n2.工程量暂定，以现场实际施工完成量签证结算","m3","1",505.35,505.35,166.74,{"v":7.1,"d":"7.10"}]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-06"]
[]
["分部分项工程量清单与计价表"]
["工程名称:装饰",{"$nulls":3},"标段:",null,"第7页 共10页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"定额\n人工费","定额\n机械费","暂估价"]
["32","020102002001","块料楼地面（300×300防滑地砖）","1、找平层厚度、砂浆配合比：20mm厚1：3水泥砂浆,卫生间及常用水处聚氨酯防水处理\n2、结合层厚度、砂浆配合比：12mm厚水泥砂浆1:1\n3、面层材料品种、规格、品牌、颜色：300×300防滑地砖，优等品（含材料零星拼花及上楼费用）\n4、酸洗打蜡要求级：酸洗、打蜡\n5、工作内容：基层清理、抹找平层、面层铺设、酸洗、打蜡、材料运输、成品保护\n6.工程量暂定，以现场实际施工完成量签证结算","m2","1",138.57,138.57,40.75,2.07]
["33","020102002002","块料楼地面（600×600大地砖）","1、找平层厚度、砂浆配合比：20mm厚1：3水泥砂浆,卫生间及常用水处聚氨酯防水处理\n2、结合层厚度、砂浆配合比：12mm厚水泥砂浆1:1\n3、面层材料品种、规格、品牌、颜色：600×600大地砖，优等品（含材料零星拼花及上楼费用）\n4、酸洗打蜡要求级：酸洗、打蜡\n5、工作内容：基层清理、抹找平层、面层铺设、酸洗、打蜡、材料运输、成品保护\n6.工程量暂定，以现场实际施工完成量签证结算","m2","1",144.72,144.72,37.39,2.12]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-06"]
[]
["分部分项工程量清单与计价表"]
["工程名称:装饰",{"$nulls":3},"标段:",null,"第8页 共10页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"定额\n人工费","定额\n机械费","暂估价"]
["34","020302001001","天棚吊顶（普通型，双层石膏板）","1、吊顶形式：不上人,U50\n2、龙骨材料种类、规格、间距：U50轻钢龙骨，φ8吊筋\n3、面层材料品种、规格、品牌、颜色：双层纸面石膏板\n4、油漆品种、刷漆遍数：乳胶漆三底三面\n5、工作内容：基层清理、龙骨安装、面层铺贴、板缝贴纸、批腻子刷乳胶漆、成品保护\n6.工程量暂定，以现场实际施工完成量签证结算","m2","1",97.43,97.43,15.45,0.41]
["35","020401003002","成品木门（M0921）","1、门类型：成品门，含配套门套及门线安装\n2、框截面尺寸、单扇面积：详见施工图\n3、五金要求：门铰链、门吸、执手锁\n4、工作内容：门运输、安装、五金安装、刷防护材料、成品保护\n5.工程量暂定，以现场实际施工完成量签证结算","樘","1",519.49,519.49,23.59,0.96]
["36","020105003002","配套地砖踢脚线","1、踢脚线高度：符合甲方要求\n2、面层材料品种、规格、品牌、颜色：地砖配套踢脚线\n3、工程量暂定，以现场实际施工完成量签证结算","m2","1",30.45,30.45,19.95,0.26]
["37","020204003001","300*600全瓷墙砖","1、贴结层厚度、材料种类:20mm水泥砂浆\n2、面层材料品种、规格、品牌、颜色：300*600全瓷墙砖\n3、工程量暂定，以现场实际施工完成量签证结算","m2","1",{"v":115.4,"d":"115.40"},{"v":115.4,"d":"115.40"},34.53,1.66]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-06"]
[]
["分部分项工程量清单与计价表"]
["工程名称:装饰",{"$nulls":3},"标段:",null,"第9页 共10页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"定额\n人工费","定额\n机械费","暂估价"]
["38","020302001007","天棚吊顶(300*300集成铝板)","1、龙骨材料种类、规格、间距：集成铝板配套龙骨\n2、面层材料品种、规格、品牌、颜色：300*300集成铝板","m2","1",{"v":145,"d":"145.00"},{"v":145,"d":"145.00"}]
["39","020507001001","刷喷涂料","1、涂料品种、刷漆遍数：白色外墙乳胶漆\n2.工程量暂定，以现场实际施工完成量签证结算","m2","1",14.52,14.52,3.44,0.02]
["40","补010","砖墙开孔-直径150mm以内","\"1.活动式脚手架租赁费（1付）\n2、含运输费\n3.工程量暂定，以现场实际施工完成量签证结算\"","个","1",{"v":50,"d":"50.00"},{"v":50,"d":"50.00"}]
["41","补011","砼墙开孔-直径150mm以内","\"1.活动式脚手架租赁费（1付）\n2、含运输费\n3.工程量暂定，以现场实际施工完成量签证结算\"","个","1",{"v":60,"d":"60.00"},{"v":60,"d":"60.00"}]
["42","WB040202024001","混凝土路面开槽","1、混凝土路面开槽宽2cm、深2.5cm\n2.依据施工及验收规范；\n3.垃圾外运自行考虑；\n4.工程量暂定，以现场实际施工完成量签证结算","m","1",{"v":62.6,"d":"62.60"},{"v":62.6,"d":"62.60"},{"v":4.2,"d":"4.20"},2.89]
["43","WB040202024002","沥青路面开槽","1、沥青路面开槽宽2cm、深2.5cm\n2.依据施工及验收规范；\n3.垃圾外运自行考虑；\n4.工程量暂定，以现场实际施工完成量签证结算","m","1",{"v":62.6,"d":"62.60"},{"v":62.6,"d":"62.60"},{"v":4.2,"d":"4.20"},2.89]
["44","011201001002","墙面防水","1、墙面防水\n2.依据施工及验收规范；\n3.工程量暂定，以现场实际施工完成量签证结算","m2","1",17.58,17.58,7.93,0.41]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-06"]
[]
["分部分项工程量清单与计价表"]
["工程名称:装饰",{"$nulls":3},"标段:",null,"第10页 共10页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"定额\n人工费","定额\n机械费","暂估价"]
["45","WB011302005001","天棚面层","1、铝塑板拆装\n2.依据施工及验收规范；\n3.工程量暂定，以现场实际施工完成量签证结算","m2","1",109.57,109.57,25.11,0.72]
["46","011701002001","外脚手架","1、钢管脚手架\n2.依据施工及验收规范；\n3.工程量暂定，以现场实际施工完成量签证结算","m2","1",25.56,25.56,{"v":10.3,"d":"10.30"},0.45]
["47","WB011701011001","安全围护（网）立挂式","1、安全防护网\n2.依据施工及验收规范；\n3.工程量暂定，以现场实际施工完成量签证结算","m2","1",9.26,9.26,2.11,0.16]
{"$rows_empty":17}
[" 合  计",{"$nulls":6},9589.85,847.25,34.51]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-06"]

{"sheet":"1_G_不可竞争项目清单与计价表-计算基数为数值","index":3,"n_rows":32,"n_cols":6,"rows_kept":32,"merged":[[0,0,0,5],[1,0,1,2],[29,0,29,4],[31,0,31,3],[31,4,31,5]]}
["不可竞争项目清单与计价表"]
["工程名称:装饰",null,null,"标段:",null,"第1页 共1页"]
["序号","项目编码","项目名称","计算基数","费率(%)","金额(元)"]
["1","ZF-01","环境保护费","881.76","1",8.82]
["2","ZF-02","文明施工费","881.76","3.6",31.74]
["3","ZF-03","安全施工费","881.76","3.1",27.33]
["4","ZF-04","临时设施费","881.76","5.8",51.14]
["5","ZF-05","工程排污费"]
{"$rows_empty":21}
["合计",{"$nulls":4},119.03]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-06"]

{"sheet":"1_F_措施项目清单与计价表-计算基数为数值","index":4,"n_rows":34,"n_cols":6,"rows_kept":34,"merged":[[0,0,0,5],[1,0,1,2],[31,0,31,4],[33,0,33,3],[33,4,33,5]]}
["措施项目清单与计价表"]
["工程名称:装饰",null,null,"标段:",null,"第1页 共1页"]
["序号","项目编码","项目名称","计算基数","费率(%)","金额(元)"]
["1","ZC-01","夜间施工增加费","881.76","0.5",4.41]
["2","ZC-02","二次搬运费","881.76","1.2",10.58]
["3","ZC-03","冬雨季施工增加费","881.76","0.7",6.17]
["4","ZC-04","已完工程及设备保护费","881.76","0.5",4.41]
["5","ZC-05","工程定位复测费","881.76","0.8",7.05]
["6","ZC-06","非夜间施工照明费","881.76","0.4",3.53]
["7","ZC-07","临时保护设施费","881.76","0.1",0.88]
["8","ZC-08","赶工措施费","881.76","2.1",18.52]
{"$rows_empty":20}
["合计",{"$nulls":4},"55.55"]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-06"]

{"sheet":"1_I 税金计价表","index":5,"n_rows":8,"n_cols":6,"rows_kept":8,"merged":[[0,0,0,5],[1,0,1,2],[1,4,1,5],[3,0,4,0],[3,1,4,1],[3,2,4,2],[3,3,4,3],[3,4,4,4],[3,5,4,5],[5,0,5,4],[7,0,7,5]]}
["税金计价表"]
["工程名称:装饰",null,null,"标段:","第1页 共1页"]
["序号","项目名称","计算基础","计算基数","费率(%)","金额(元)"]
["1","增值税","分部分项工程费+措施项目费+不可竞争费+其他项目费","9764.43","9","878.8"]
[]
["合计",{"$nulls":4},"878.8"]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-06"]

{"sheet":"2_D_3 单位工程最高投标限价汇总表(含下浮)","index":6,"n_rows":29,"n_cols":4,"rows_kept":29,"merged":[[0,0,0,3],[1,0,1,1],[28,0,28,3],[30,0,30,2]]}
["单位工程最高投标限价汇总表"]
["工程名称:安装",null,"标段:","第1页 共1页"]
["序号","汇总内容","金 额(元)","其中:材料、设备暂估价(元)"]
["一","分部分项工程项目费",5187.71]
["1.1","其中:定额人工费",957.64,{"v":0,"d":"0.00"}]
["1.2","     定额机械费",19.09,{"v":0,"d":"0.00"}]
["1.3","     综合费",283.28,{"v":0,"d":"0.00"}]
["二","措施项目费",61.54,{"v":0,"d":"0.00"}]
["三","不可竞争费",104.51,{"v":0,"d":"0.00"}]
["3.1","安全文明施工费",104.51,{"v":0,"d":"0.00"}]
["3.2","工程排污费",null,{"v":0,"d":"0.00"}]
["四","其他项目费",null,{"v":0,"d":"0.00"}]
["4.1","暂列金额",null,{"v":0,"d":"0.00"}]
["4.2","专业工程暂估价",null,{"v":0,"d":"0.00"}]
["4.3","计日工",null,{"v":0,"d":"0.00"}]
["4.4","总承包服务费",null,{"v":0,"d":"0.00"}]
["五","计税不计费",null,{"v":0,"d":"0.00"}]
["六","税金",481.84,{"v":0,"d":"0.00"}]
["七","不计税不计费",null,{"v":0,"d":"0.00"}]
["八","下浮率",null,{"v":0,"d":"0.00"}]
{"$rows_empty":7}
["九","工程造价",{"v":5835.6,"d":"5835.60"}]
["注：本表适用于单位工程招标控制价或投标报价的汇总，如无单位工程划分，单项工程也使用本表汇总。\n安徽省建设工程造价计价软件测评合格编号2018JS-06"]

{"sheet":"2_E_1 分部分项工程量清单计价表-含合计","index":7,"n_rows":130,"n_cols":11,"rows_kept":130,"merged":[[0,0,0,10],[1,0,1,3],[1,4,1,5],[1,6,1,10],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,4,5],[2,6,2,10],[3,6,4,6],[3,7,4,7],[3,8,3,10],[11,0,11,10],[13,0,13,10],[14,0,14,3],[14,4,14,5],[14,6,14,10],[15,0,17,0],[15,1,17,1],[15,2,17,2],[15,3,17,3],[15,4,17,4],[15,5,17,5],[15,6,15,10],[16,6,17,6],[16,7,17,7],[16,8,16,10],[23,0,23,10],[25,0,25,10],[26,0,26,3],[26,4,26,5],[26,6,26,10],[27,0,29,0],[27,1,29,1],[27,2,29,2],[27,3,29,3],[27,4,29,4],[27,5,29,5],[27,6,27,10],[28,6,29,6],[28,7,29,7],[28,8,28,10],[36,0,36,10],[38,0,38,10],[39,0,39,3],[39,4,39,5],[39,6,39,10],[40,0,42,0],[40,1,42,1],[40,2,42,2],[40,3,42,3],[40,4,42,4],[40,5,42,5],[40,6,40,10],[41,6,42,6],[41,7,42,7],[41,8,41,10],[50,0,50,10],[52,0,52,10],[53,0,53,3],[53,4,53,5],[53,6,53,10],[54,0,56,0],[54,1,56,1],[54,2,56,2],[54,3,56,3],[54,4,56,4],[54,5,56,5],[54,6,54,10],[55,6,56,6],[55,7,56,7],[55,8,55,10],[64,0,64,10],[66,0,66,10],[67,0,67,3],[67,4,67,5],[67,6,67,10],[68,0,70,0],[68,1,70,1],[68,2,70,2],[68,3,70,3],[68,4,70,4],[68,5,70,5],[68,6,68,10],[69,6,70,6],[69,7,70,7],[69,8,69,10],[77,0,77,10],[79,0,79,10],[80,0,80,3],[80,4,80,5],[80,6,80,10],[81,0,83,0],[81,1,83,1],[81,2,83,2],[81,3,83,3],[81,4,83,4],[81,5,83,5],[81,6,81,10],[82,6,83,6],[82,7,83,7],[82,8,82,10],[94,0,94,10],[96,0,96,10],[97,0,97,3],[97,4,97,5],[97,6,97,10],[98,0,100,0],[98,1,100,1],[98,2,100,2],[98,3,100,3],[98,4,100,4],[98,5,100,5],[98,6,98,10],[99,6,100,6],[99,7,100,7],[99,8,99,10],[127,0,127,6],[129,0,129,10]]}
["分部分项工程量清单与计价表"]
["工程名称:安装",{"$nulls":3},"标段:",null,"第1页 共8页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"定额\n人工费","定额\n机械费","暂估价"]
[null,null,"电气安装",{"$nulls":4},5187.71,957.64,19.09]
["1","030804012003","更换大便器","1.大便器拆除及重新安装；\n2.自闭式冲洗阀DN20拆除及安装；\n3.依据施工及验收规范；\n4.垃圾外运自行考虑；\n5.工程量暂定，以现场实际施工完成量签证结算","套","1",445.72,445.72,118.64]
["2","030804012004","更换坐便器","1.坐便器和水箱拆除及重新安装；\n2.依据施工及验收规范；\n3.垃圾外运自行考虑；\n4.工程量暂定，以现场实际施工完成量签证结算","套","1",540.73,540.73,128.73]
["3","030804005002","更换洗涤池","1.材质:陶瓷\n2.洗涤池更换及重新安装\n3.依据施工及验收规范；\n4.垃圾外运自行考虑；\n5.工程量暂定，以现场实际施工完成量签证结算","组","1",{"v":163.2,"d":"163.20"},{"v":163.2,"d":"163.20"},{"v":43,"d":"43.00"}]
["4","030804003002","更换洗脸盆","1.材质:陶瓷\n2.洗脸盆更换及重新安装\n3.依据施工及验收规范；\n4.垃圾外运自行考虑；\n5.工程量暂定，以现场实际施工完成量签证结算","组","1",193.55,193.55,57.89]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-06"]
[]
["分部分项工程量清单与计价表"]
["工程名称:安装",{"$nulls":3},"标段:",null,"第2页 共8页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"定额\n人工费","定额\n机械费","暂估价"]
["5","030801005008","塑料排水管UPVC100","1.塑料排水管UPVC100拆除；\n2.塑料排水管UPVC100安装；\n3.垃圾外运，运距自行考虑；\n4.执行施工及验收相关规范；\n5.工程量暂定，以现场实际施工完成量签证结算","m","1",34.45,34.45,{"v":8.4,"d":"8.40"},0.01]
["6","030801005009","塑料管D50(UPVC、PVC、PP-C、PP-R、PE管等)","1.安装部位:室内、外；\n2.输送介质:给水、排水、热媒体、雨水;\n3.材质:UPVC、PVC;\n4.型号、规格:D50;\n5.工程量暂定，以现场实际施工完成量签证结算.","m","1",39.46,39.46,8.92,0.03]
["7","030801005010","塑料管D75(UPVC、PVC、PP-C、PP-R、PE管等)","1.安装部位:室内、外；\n2.输送介质:给水、排水、热媒体、雨水;\n3.材质:UPVC、PVC;\n4.型号、规格:D50;\n5.工程量暂定，以现场实际施工完成量签证结算.","m","1",63.82,63.82,9.69,0.03]
["8","030801005012","De25 PP-R给水管","1.安装部位:室内、外；\n2.输送介质:给水、排水、热媒体、雨水;\n3.材质:PP-R;\n4.型号、规格:D25;\n5.工程量暂定，以现场实际施工完成量签证结算.","m","1",15.68,15.68,6.97,0.02]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-06"]
[]
["分部分项工程量清单与计价表"]
["工程名称:安装",{"$nulls":3},"标段:",null,"第3页 共8页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"定额\n人工费","定额\n机械费","暂估价"]
["9","030801005013","De50PP-R给水管","1.安装部位:室内、外；\n2.输送介质:给水、排水、热媒体、雨水;\n3.材质:PP-R;\n4.型号、规格:D50;\n5.工程量暂定，以现场实际施工完成量签证结算.","m","1",31.38,31.38,8.89,0.03]
["10","030801005014","塑料管D75 PP-R给水管","1.安装部位:室内、外；\n2.输送介质:给水、排水、热媒体、雨水;\n3.材质:PP-R;\n4.型号、规格:D75;\n5.工程量暂定，以现场实际施工完成量签证结算.","m","1",53.97,53.97,10.79,0.03]
["11","030801001004","镀锌钢管安装直径15mm以内","1.安装部位:室内、外；\n2.输送介质:给水;\n3.材质:镀锌钢管;\n4.型号、规格:D15以内;\n5.工程量暂定，以现场实际施工完成量签证结算.","m","1",27.77,27.77,11.94,{"v":0.3,"d":"0.30"}]
["12","030801001005","镀锌钢管安装直径25mm以内","1.安装部位:室内、外；\n2.输送介质:给水;\n3.材质:镀锌钢管;\n4.型号、规格:D25以内;\n5.工程量暂定，以现场实际施工完成量签证结算.","m","1",37.77,37.77,15.04,0.68]
["13","030801001006","镀锌钢管安装直径50mm以内","1.安装部位:室内、外；\n2.输送介质:给水;\n3.材质:镀锌钢管;\n4.型号、规格:D50以内;\n5.工程量暂定，以现场实际施工完成量签证结算.","m","1",56.71,56.71,17.82,1.29]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-06"]
[]
["分部分项工程量清单与计价表"]
["工程名称:安装",{"$nulls":3},"标段:",null,"第4页 共8页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"定额\n人工费","定额\n机械费","暂估价"]
["14","040201013002","排水沟、截水沟","1.转砌排水沟(含挖土方，外运、回填);\n2.C15砼垫层,厚100mm;\n3.水泥砂浆抹面；\n4.工程量暂定，以现场实际施工完成量签证结算","m","1",416.82,416.82,57.06,7.74]
["15","040504004003","砌筑水表井","1.砌筑水表井:400*800;\n2.井盖、井座 φ600轻型以内\n3.工程量暂定，以现场实际施工完成量签证结算","座","1",{"v":500,"d":"500.00"},{"v":500,"d":"500.00"}]
["16","040504004004","混凝土井盖拆除、更换","1.混凝土井盖拆除、更换;\n2.工程量暂定，以现场实际施工完成量签证结算","个","1",417.48,417.48,{"v":143.4,"d":"143.40"}]
["17","030804017002","地漏拆除更换","1.材质：不锈钢地漏拆除更换\n2.型号、规格：φ50，防臭\n3.工程量暂定，以现场实际施工完成量签证结算","个","1",22.41,22.41,10.85]
["18","030204018003","住宅照明配电箱 ALa","1.名称、型号：宿舍照明配电箱 ALa\n2.规格：非标定制:符合业主要求\n3.安装高度：下口距地面1.4米\n4.半周长1.5m\n5.端子接线BV-6mm2\n6.工程量暂定，以现场实际施工完成量签证结算","台","1",336.18,336.18,96.32]
["19","030213003003","疏散指示灯","1.名称：疏散指示灯\n2.规格：LED光源 应急时间＞30min\n3.安装高度：符合规范要求\n4.工程量暂定，以现场实际施工完成量签证结算","套","1",123.91,123.91,{"v":11.9,"d":"11.90"}]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-06"]
[]
["分部分项工程量清单与计价表"]
["工程名称:安装",{"$nulls":3},"标段:",null,"第5页 共8页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"定额\n人工费","定额\n机械费","暂估价"]
["20","030213003004","安全出口灯","1.名称：安全出口灯\n2.型号：见图纸\n3.规格：LED光源 应急时间＞30min\n4.安装高度：符合规范要求\n5.工程量暂定，以现场实际施工完成量签证结算","套","1",123.91,123.91,{"v":11.9,"d":"11.90"}]
["21","030204031008","单联单控开关","1.单联单控开关拆除更换\n2.工程量暂定，以现场实际施工完成量签证结算","套","1",10.52,10.52,3.92]
["22","030204031009","双联单控开关","1.名称：双联单控开关拆除更换\n2.工程量暂定，以现场实际施工完成量签证结算","套","1",12.09,12.09,3.92]
["23","030204031010","双联双控开关","1.双联双控开关拆除更换\n2.工程量暂定，以现场实际施工完成量签证结算","套","1",12.99,12.99,{"v":4.2,"d":"4.20"}]
["24","030204031011","三联单控开关","1.三联单控开关拆除更换\n2.工程量暂定，以现场实际施工完成量签证结算","套","1",14.58,14.58,3.92]
["25","030212001002","电气配管 PC20","1.名称：电气配管\n2.材质：PC塑料管\n3.规格：PC20\n4.配置形式及部位：砖混结构暗配\n5.墙、地面开槽和恢复\n6.工程量暂定，以现场实际施工完成量签证结算","m","1",7.09,7.09,3.43]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-06"]
[]
["分部分项工程量清单与计价表"]
["工程名称:安装",{"$nulls":3},"标段:",null,"第6页 共8页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"定额\n人工费","定额\n机械费","暂估价"]
["26","030212003002","电气配线 ZR-BV-2.5mm2","1.配线形式：管内穿线\n2.导线型号、材质、规格：ZR-BV-2.5mm2\n3.敷设方式：管内敷设\n4.工程量暂定，以现场实际施工完成量签证结算","m","1",2.48,2.48,0.57]
["27","030411004003","电气配线 ZR-BV-4mm2","1.配线形式：管内穿线\n2.导线型号、材质、规格：ZR-BV-4mm2\n3.敷设方式：管内敷设\n4.工程量暂定，以现场实际施工完成量签证结算","m","1",3.01,3.01,0.39]
["28","030411004004","电气配线 ZR-BV-10mm2","1.配线形式：管内穿线\n2.导线型号、材质、规格：ZR-BV-10mm2\n3.敷设方式：管内敷设\n4.工程量暂定，以现场实际施工完成量签证结算","m","1",6.56,6.56,0.57]
["29","030408001005","电力电缆","1、YJV-5*10\n2.依据施工及验收规范；\n3.垃圾外运自行考虑；\n4.工程量暂定，以现场实际施工完成量签证结算","m","1",39.76,39.76,1.64,0.89]
["30","030408001006","电力电缆","1、YJV-4*25+1*16\n2.依据施工及验收规范；\n3.垃圾外运自行考虑；\n4.工程量暂定，以现场实际施工完成量签证结算","m","1",81.54,81.54,2.94,0.89]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-06"]
[]
["分部分项工程量清单与计价表"]
["工程名称:安装",{"$nulls":3},"标段:",null,"第7页 共8页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"定额\n人工费","定额\n机械费","暂估价"]
["31","030408001007","电力电缆","1、YJV-4*70+1*35\n2.依据施工及验收规范；\n3.垃圾外运自行考虑；\n4.工程量暂定，以现场实际施工完成量签证结算","m","1",201.89,201.89,4.58,0.89]
["32","030408001008","电力电缆","1、YJV-4*120+1*70\n2.依据施工及验收规范；\n3.垃圾外运自行考虑；\n4.工程量暂定，以现场实际施工完成量签证结算","m","1",348.54,348.54,5.46,0.93]
["33","030204031012","接线盒","1.名称：接线盒\n2.型号、规格：DHS75+86HS60","个","1",6.77,6.77,2.38]
["34","030204018004","多媒体信息箱","1.多媒体信息箱\n2.工程量暂定，以现场实际施工完成量签证结算","台","1",135.18,135.18,{"v":21,"d":"21.00"}]
["35","030204031013","信息插座","1.名称：信息插座\n2.工程量暂定，以现场实际施工完成量签证结算","个","1",{"v":18.4,"d":"18.40"},{"v":18.4,"d":"18.40"},{"v":7,"d":"7.00"}]
["36","030204031014","电话插座","1.名称：电话插座\n2.工程量暂定，以现场实际施工完成量签证结算","个","1",16.95,16.95,6.02]
["37","WB030403002002","保温套管","1、保温套管de50\n2.依据施工及验收规范；\n3.工程量暂定，以现场实际施工完成量签证结算","个","1",120.69,120.69,17.92,5.33]
["38","040501004001","DN300PE双壁波纹管管铺设","1、PE双壁波纹管铺设，管径300mm；\n2、工程量暂定，以实际发生为准；\n3、其他详见施工图纸要求并符合相关规范要求。","m","1",83.67,83.67,13.61]
["39","030412001001","LED吸顶灯","1.名称：LED吸顶灯\n2.规格型号：1x22W\n3.工程量暂定，以现场实际施工完成量签证结算","套","1",95.06,95.06,9.66]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-06"]
[]
["分部分项工程量清单与计价表"]
["工程名称:安装",{"$nulls":3},"标段:",null,"第8页 共8页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"定额\n人工费","定额\n机械费","暂估价"]
["40","030404033001","吊扇","1.名称：吊扇\n2.具体内容详见图纸及说明","台","1",187.06,187.06,{"v":26.6,"d":"26.60"}]
["41","030404033002","换气扇","1.名称：换气扇\n2.具体内容详见图纸及说明","台","1",137.96,137.96,39.76]
{"$rows_empty":24}
[" 合  计",{"$nulls":6},5187.71,957.64,19.09]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-06"]

{"sheet":"2_G_不可竞争项目清单与计价表-计算基数为数值","index":8,"n_rows":32,"n_cols":6,"rows_kept":32,"merged":[[0,0,0,5],[1,0,1,2],[29,0,29,4],[31,0,31,3],[31,4,31,5]]}
["不可竞争项目清单与计价表"]
["工程名称:安装",null,null,"标段:",null,"第1页 共1页"]
["序号","项目编码","项目名称","计算基数","费率(%)","金额(元)"]
["1","AF-01","环境保护费","976.73","0.9",8.79]
["2","AF-02","文明施工费","976.73","2.8",27.35]
["3","AF-03","安全施工费","976.73","2.4",23.44]
["4","AF-04","临时设施费","976.73","4.6",44.93]
["5","AF-05","工程排污费"]
{"$rows_empty":21}
["合计",{"$nulls":4},104.51]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-06"]

{"sheet":"2_F_措施项目清单与计价表-计算基数为数值","index":9,"n_rows":34,"n_cols":6,"rows_kept":34,"merged":[[0,0,0,5],[1,0,1,2],[31,0,31,4],[33,0,33,3],[33,4,33,5]]}
["措施项目清单与计价表"]
["工程名称:安装",null,null,"标段:",null,"第1页 共1页"]
["序号","项目编码","项目名称","计算基数","费率(%)","金额(元)"]
["1","AC-01","夜间施工增加费","976.73","0.5",4.88]
["2","AC-02","二次搬运费","976.73","1",9.77]
["3","AC-03","冬雨季施工增加费","976.73","0.7",6.84]
["4","AC-04","已完工程及设备保护费","976.73","0.3",2.93]
["5","AC-05","工程定位复测费","976.73","0.6",5.86]
["6","AC-06","非夜间施工照明费","976.73","0.6",5.86]
["7","AC-07","临时保护设施费","976.73","0.1",0.98]
["8","AC-08","赶工措施费","976.73","2.5",24.42]
{"$rows_empty":20}
["合计",{"$nulls":4},"61.54"]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-06"]

{"sheet":"2_I 税金计价表","index":10,"n_rows":8,"n_cols":6,"rows_kept":8,"merged":[[0,0,0,5],[1,0,1,2],[1,4,1,5],[3,0,4,0],[3,1,4,1],[3,2,4,2],[3,3,4,3],[3,4,4,4],[3,5,4,5],[5,0,5,4],[7,0,7,5]]}
["税金计价表"]
["工程名称:安装",null,null,"标段:","第1页 共1页"]
["序号","项目名称","计算基础","计算基数","费率(%)","金额(元)"]
["1","增值税","分部分项工程费+措施项目费+不可竞争费+其他项目费","5353.76","9","481.84"]
[]
["合计",{"$nulls":4},"481.84"]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-06"]